## Introduction
Bristol Water Developer Services Quote Calculator
Introduction
This calculator allows for a quotation of calculation of the charges for a new development with the Bristol Water supply area.
Our charges are set out in our Charging Arrangements for New Connection Services document, available at |  | https://www.bristolwater.co.uk/hubfs/Statements/BW_Charging_Arrangement_New%20Connection_24-25.pdf
All charges shown exclude VAT
Please input the relevant quantities on each tab. Cells requiring an input are shown as yellow:
The total quote can be seen on the "Quote Summary" tab.
Further details on our charges can be found at |  | https://www.bristolwater.co.uk/charges-regulations
Contact Details:
Developer enquiries
All pre-development enquiries and mains applications from developers will be dealt with by our Developer Interface Team who will arrange for any required mains to be designed and priced, terms to be sent and the mains to be installed.
Sharon Ranahan – Developer Interface Specialist
Telephone: 0117 934 1224
Email: developer.interface@bristolwater.co.uk
Self-lay enquiries
All enquiries from self-lay organisations and applications will be dealt with by our Development Services team who will produce or check the design of any required mains. They will send out agreements and deal with the payments for any non-contestable work. They will also deal with the asset value payments at the end of the job.
Tim St John – Senior Project Manager, Development Services
Telephone: 0117 9638277
Email: development.services@bristolwater.co.uk

## Quote Summary
Developer Services Quote Calculator
Quote Summary
Item | £ (excluding VAT) | Notes
Administrative/Design Fees
Design Administration Fee | 336 | All applications attract Design Administration Fee which is refunded if scheme progresses within 12 months
Design Fee | 347 | Design fees are charged seperately to a Self Lay Provider where the self lay provider requests that a design is undertaken by Bristol Water.
Non Physical Connection Charges (Self Laid Services only) | 24.5 | These fees are levied on self lay providers as an administrative fee for processing self laid service connections undertaken by them and represents the amount of work that Bristol Water is required to do to process these connections. This charge is due once the connection has been made.
Sub Total: Administrative/Design Fees | 707.5
Service Connection Charges (Contestable) | 0 | Work that can be undertaken by SLP
Providing a Public Main as a s41 Requisition (Contestable) | 0
Disconnection Charges (Non-contestable) | 0
Infrastructure charges | 0
Income Offset | 0
Diversions | 0
Traffic Management Costs | 0 | Traffic Management Costs from Schedule
Land Entry | 0 | Land Entry Cost from schedule
Exceptional Items | 0
Total Quotation | 707.5

## Design and Application fees
Design and Application Fees
Mains Application Fees | 2024/25 charge excluding VAT |  |  | Design Fee | 2024/25 charge excluding VAT
Residential |  |  |  | Residential
<=50 houses | 336 |  |  | <=50 houses | 347
51 - 300 houses | 1007 |  |  | 51 - 300 houses | 549
>301 houses | 1679 |  |  | >301 houses | 1109
Commercial |  |  |  | Commercial
< 2 litres/sec | 560 |  |  | < 2 litres/sec | 549
2.1 - 5 litres/sec | 896 |  |  | 2.1 - 5 litres/sec | 840
>5.1 litres/sec | 1119 |  |  | >5.1 litres/sec | 1109
Fees are charged on a sliding scale depending on development size.
If a site is a combination of residential and commercial/industrial only a single fee is payable. These fees are due at the time of application.
Design fees apply to all applications that require a mains design. The activity of design is contestable, and therefore SLP's will only be charged if they ask us to undertake the design activity.
Charging Arrangements section | 3.2
Design Fees |  | Select | Charge £
Mains Application fee | Scale of development (select) | <=50 houses | 336
Design Fee if applicable | payable (y/n) | Y | 347
Total |  |  | 683
Y
N

## Non Physical Connection Charges
Non-Physical Connection Charges
These fees are levied as an administrative fee for processing service connections undertaken and represents the amount of work that Bristol Water is required to do to process these connections. This charge is due once the connection has been made. It is a non-contestable activity because it reflects our cost of processing the connection request, registering the connection on our GIS system, invoicing for the activity and other new connection overhead activities for this stage of the new connection process. We have introduced a flat fee for all connections based on consultation responses supporting our simplification of the charge.
Charging Arrangements section | 5.7
Total number of connections | 1
Number of batches | 1
| Charge £ | Number of connections | Total £
First Connection on site | 24.5 | 1 | 24.5
First Connection of a batch of connections | 24.5 | 0 | 0
Subsequent Connections in a batch | 24.5 | 0 | 0
|  | Total | 24.5

## Mains and Services
Connection Charges
Contestable work is work whereby an accredited Self Lay Provider can undertake the work
Non Contestable work is work whereby the nature and risks associate with the work means Bristol Water will undertake the work, this is identified in the Annual Contestable Sumary
Service Connection Charges (Contestable)
WIA ref | Charging Arrangements Section | Charge Item | Charge Unit | Quantity | Charge £ | Total | Notes
S45 | 5.1 | <63mm Connection.Tapping only | per connection | 0 | 156.07 | 0 | The customer provides and fits a boundary box or wall mounted box and excavates and lays the service pipe and trace wire to a point 150mm above the main. The company exposes and taps the main and fits the meter. The customer then backfills and reinstates the surface as appropiate | PURITON OR NOT?
S45 | 5.1 | Additional Service in same trench (Max 6) | Number | 0 | 117.06 | 0 | Additional service pipes
S45 | 5.1 | Additional Charge if wall mounted box not readily available | Number | 0 | 29.89 | 0
S45 | 5.2 | <63mm Connection via ferrule to main & 1 linear metres of service pipe | per connection | 0 | 742.22 | 0 | The customer provides and fits a boundary box or wall mounted box and excavates and lays the service pipe and trace wire to a point 150mm above the main. The company excavates to the main, lays the service pipe and trace wire, taps the main, backfills, reinstates and fits the meter
S45 | 5.2 | Additional Service in same trench (Max 6) | Number | 0 | 117.06 | 0 | Additional service pipes
S45 | 5.2 | Additional cost per metre of standard pipe | per m | 0 | 145.84 | 0
S45 | 5.2 | Additional cost per metre of barrier pipe | per m | 0 | 147.7 | 0
S45 | 5.2 | Additional cost per meter for each additional standard PE service in same trench | per m | 0 | 6.68 | 0 | 25/32mm pipe
S45 | 5.2 | Additional cost per meter for each additional adopted barrier pipe service in same trench | per m | 0 | 8.54 | 0 | 25/32mm pipe
S45 | 5.2 | Additional Charge if wall mounted box not readily available | Number | 0 | 29.89 | 0
S45 | 5.3 | <63mm Connection via ferrule to main & 1 linear metres of service pipe & boundary box in road and reinstate | per connection | 0 | 1003.66 | 0 | Connection to main in adopted and other existing surfaced roads (Non contaminated land). The company excavates to the main, lays 2m of service pipe and trace wire, taps the main, provides and fits a boundary box, backfills, reinstates and fits the meter
S45 | 5.3 | <63mm Connection via ferrule to main & 1 linear metres of service pipe & boundary box in road and reinstate | per connection | 0 | 1048.16 | 0 | Connection to main in adopted and other existing surfaced roads (Contaminated land). The company excavates to the main, lays 2m of service pipe and trace wire, taps the main, provides and fits a boundary box, backfills, reinstates and fits the meter
S45 | 5.3 | Each Additional Service in same trench (Max 6) | Number | 0 | 130.79 | 0
S45 | 5.3 | Each Additional Service in same trench in contaminated land (Max 6) | Number | 0 | 220.11 | 0
S45 | 5.3 | Additional cost per metre of standard pipe | per m | 0 | 156.33 | 0
S45 | 5.3 | Additional cost per metre of barrier pipe | per m | 0 | 158.19 | 0
S45 | 5.3 | Additional cost per meter for each additional standard PE service in same trench | per m | 0 | 7.38 | 0 | 25/32mm pipe
S45 | 5.3 | Additional cost per meter for each additional adopted barrier pipe service in same trench | per m | 0 | 9.24 | 0 | 25/32mm pipe
S45 | 5.3 | BW fits box and taps main in one excavation (surfaced road, footpath, verge) | Number | 0 | 1002.12 | 0
S45 | 5.3 | BW fits box and taps main in one excavation (private unsurfaced land) | Number | 0 | 519.92 | 0
[5 empty] | Total | 0
Providing a Public Main as a s41 Requisition (Contestable)
WIA ref | Charging Arrangements Section | Charge Item | Charge Unit | Quantity | Charge | Total | Notes
S41 | 4.1 | Supply pipe where customer digs and reinstates the trench | per metre | 0 | 22.35 | 0 | 63mm pipe
S41 | 4.1 | Supply pipe where customer digs and reinstates the trench (contaminated land) | per metre | 0 | 23.7 | 0 | 63mm pipe
S41 | 4.1 | Excavate, supply and lay in verge/ unmade ground/field and reinstate | per metre | 0 | 73.96 | 0 | 63mm pipe
S41 | 4.1 | Excavate, supply and lay in verge/ unmade ground/field and reinstate (contaminated land) | per metre | 0 | 75.31 | 0 | 63mm pipe
S41 | 4.1 | Excavate, supply and lay in unmade ground/development site and reinstate | per metre | 0 | 71.14 | 0 | 63mm pipe
S41 | 4.1 | Excavate, supply and lay in unmade ground/development site and reinstate (Contaminated ground) | per metre | 0 | 72.5 | 0 | 63mm pipe
S41 | 4.1 | Excavate, supply and lay in footpath and reinstate | per metre | 0 | 188.07 | 0 | 63mm pipe
S41 | 4.1 | Excavate, supply and lay in footpath and reinstate (contaminated land) | per metre | 0 | 189.43 | 0 | 63mm pipe
S41 | 4.1 | Excavate, supply and lay in road (Type 3/4) and reinstate | per metre | 0 | 252.22 | 0 | 63mm pipe
S41 | 4.1 | Excavate, supply and lay in road (Type 3/4) and reinstate (contaminated land) | per metre | 0 | 253.58 | 0 | 63mm pipe
S41 | 4.1 | Supply pipe where customer digs and reinstates the trench | per metre | 0 | 24.84 | 0 | 90mm pipe
S41 | 4.1 | Supply pipe where customer digs and reinstates the trench (contaminated land) | per metre | 0 | 28.8 | 0 | 90mm pipe
S41 | 4.1 | Excavate, supply and lay in verge/ unmade ground/field and reinstate | per metre | 0 | 76.45 | 0 | 90mm pipe
S41 | 4.1 | Excavate, supply and lay in verge/ unmade ground/field and reinstate (contaminated land) | per metre | 0 | 80.41 | 0 | 90mm pipe
S41 | 4.1 | Excavate, supply and lay in unmade ground/development site and reinstate | per metre | 0 | 73.64 | 0 | 90mm pipe
S41 | 4.1 | Excavate, supply and lay additional pipe in unmade ground/development site and reinstate (Contaminated ground) | per metre | 0 | 77.59 | 0 | 90mm pipe
S41 | 4.1 | Excavate, supply and lay in footpath and reinstate | per metre | 0 | 190.56 | 0 | 90mm pipe
S41 | 4.1 | Excavate, supply and lay additional pipe in footpath and reinstate (contaminated land) | per metre | 0 | 194.52 | 0 | 90mm pipe
S41 | 4.1 | Excavate, supply and lay in road (Type 3/4) and reinstate | per metre | 0 | 254.72 | 0 | 90mm pipe
S41 | 4.1 | Excavate, supply and lay in road (Type 3/4) and reinstate (contaminated land) | per metre | 0 | 258.67 | 0 | 90mm pipe
S41 | 4.1 | Supply pipe where customer digs and reinstates the trench | per metre | 0 | 30.13 | 0 | 125mm pipe
S41 | 4.1 | Supply pipe where customer digs and reinstates the trench (contaminated land) | per metre | 0 | 37.43 | 0 | 125mm pipe
S41 | 4.1 | Excavate, supply and lay additional pipe in verge/ unmade ground/field and reinstate | per metre | 0 | 90.28 | 0 | 125mm pipe
S41 | 4.1 | Excavate, supply and lay in verge/ unmade ground/field and reinstate (contaminated land) | per metre | 0 | 97.59 | 0 | 125mm pipe
S41 | 4.1 | Excavate, supply and lay in unmade ground/development site and reinstate | per metre | 0 | 87.31 | 0 | 125mm pipe
S41 | 4.1 | Excavate, supply and lay in unmade ground/development site and reinstate (Contaminated ground) | per metre | 0 | 94.62 | 0 | 125mm pipe
S41 | 4.1 | Excavate, supply and lay in footpath and reinstate | per metre | 0 | 214.59 | 0 | 125mm pipe
S41 | 4.1 | Excavate, supply and lay in footpath and reinstate (contaminated land) | per metre | 0 | 221.89 | 0 | 125mm pipe
S41 | 4.1 | Excavate, supply and lay in road (Type 3/4) and reinstate | per metre | 0 | 285.38 | 0 | 125mm pipe
S41 | 4.1 | Excavate, supply and lay in road (Type 3/4) and reinstate (contaminated land) | per metre | 0 | 292.69 | 0 | 125mm pipe
S41 | 4.1 | Supply pipe where customer digs and reinstates the trench | per metre | 0 | 41.57 | 0 | 180mm pipe
S41 | 4.1 | Supply pipe where customer digs and reinstates the trench (contaminated land) | per metre | 0 | 54.93 | 0 | 180mm pipe
S41 | 4.1 | Excavate, supply and lay in verge/ unmade ground/field and reinstate | per metre | 0 | 109.26 | 0 | 180mm pipe
S41 | 4.1 | Excavate, supply and lay in verge/ unmade ground/field and reinstate (contaminated land) | per metre | 0 | 122.62 | 0 | 180mm pipe
S41 | 4.1 | Excavate, supply and lay in unmade ground/development site and reinstate | per metre | 0 | 105.99 | 0 | 180mm pipe
S41 | 4.1 | Excavate, supply and lay in unmade ground/development site and reinstate (Contaminated ground) | per metre | 0 | 119.36 | 0 | 180mm pipe
S41 | 4.1 | Excavate, supply and lay in footpath and reinstate | per metre | 0 | 256.57 | 0 | 180mm pipe
S41 | 4.1 | Excavate, supply and lay in footpath and reinstate (contaminated land) | per metre | 0 | 269.93 | 0 | 180mm pipe
S41 | 4.1 | Excavate, supply and lay in road (Type 3/4) and reinstate | per metre | 0 | 336.22 | 0 | 180mm pipe
S41 | 4.1 | Excavate, supply and lay in road (Type 3/4) and reinstate (contaminated land) | per metre | 0 | 349.58 | 0 | 180mm pipe
S41 | 4.1 | Supply pipe where customer digs and reinstates the trench | per metre | 0 | 63.1 | 0 | 250mm pipe
S41 | 4.1 | Supply pipe where customer digs and reinstates the trench (contaminated land) | per metre | 0 | 92.62 | 0 | 250mm pipe
S41 | 4.1 | Excavate, supply and lay in verge/ unmade ground/field and reinstate | per metre | 0 | 155.87 | 0 | 250mm pipe
S41 | 4.1 | Excavate, supply and lay in verge/ unmade ground/field and reinstate (contaminated land) | per metre | 0 | 185.39 | 0 | 250mm pipe
S41 | 4.1 | Excavate, supply and lay in unmade ground/development site and reinstate | per metre | 0 | 152.24 | 0 | 250mm pipe
S41 | 4.1 | Excavate, supply and lay in unmade ground/development site and reinstate (Contaminated ground) | per metre | 0 | 181.76 | 0 | 250mm pipe
S41 | 4.1 | Excavate, supply and lay in footpath and reinstate | per metre | 0 | 345.17 | 0 | 250mm pipe
S41 | 4.1 | Excavate, supply and lay in footpath and reinstate (contaminated land) | per metre | 0 | 374.69 | 0 | 250mm pipe
S41 | 4.1 | Excavate, supply and lay in road (Type 3/4) and reinstate | per metre | 0 | 434.56 | 0 | 250mm pipe
S41 | 4.1 | Excavate, supply and lay additional pipe in road (Type 3/4) and reinstate (contaminated land) | per metre | 0 | 464.08 | 0 | 250mm pipe
S41 | 4.2 | Thrust Blocks | Number | 0 | 192.96 | 0 | 63mm/90mm
S41 | 4.2 | Thrust Blocks | Number | 0 | 232.03 | 0 | 125mm
S41 | 4.2 | Thrust Blocks | Number | 0 | 388.26 | 0 | 180mm
S41 | 4.2 | Thrust Blocks | Number | 0 | 622.73 | 0 | 250mm
S41 | 4.3 | Existing Mains Connection - In Line - Customer Excavation | Number | 0 | 367.27 | 0 | 63mm/90mm
S41 | 4.3 | Existing Mains Connection - In Line Unmade Ground | Number | 0 | 471.98 | 0 | 63mm/90mm
S41 | 4.3 | Existing Mains Connection - In Line - Customer Excavation | Number | 0 | 380.98 | 0 | 125mm
S41 | 4.3 | Existing Mains Connection - In Line Unmade Ground | Number | 0 | 488.38 | 0 | 125mm
S41 | 4.3 | Existing Mains Connection - In Line - Customer Excavation | Number | 0 | 497.19 | 0 | 180mm
S41 | 4.3 | Existing Mains Connection - In Line Unmade Ground | Number | 0 | 623.23 | 0 | 180mm
S41 | 4.3 | Existing Mains Connection - In Line - Customer Excavation | Number | 0 | 593.84 | 0 | 250mm
S41 | 4.3 | Existing Mains Connection - In Line Unmade Ground | Number | 0 | 726.57 | 0 | 250mm
S41 | 4.4 | Existing Mains Connection cut out - Customer Excavation | Number | 0 | 740.28 | 0 | 63mm/90mm
S41 | 4.4 | Existing Mains Connection cut out - Verge/Unmade Ground/Field | Number | 0 | 1185.38 | 0 | 63mm/90mm
S41 | 4.4 | Existing Mains Connection cut out - Footway Rigid | Number | 0 | 1966.4 | 0 | 63mm/90mm
S41 | 4.4 | Existing Mains Connection cut out - Type 3/4 Road | Number | 0 | 2365.54 | 0 | 63mm/90mm
S41 | 4.4 | Existing Mains Connection cut out - Customer Excavation | Number | 0 | 764.22 | 0 | 125mm
S41 | 4.4 | Existing Mains Connection cut out - Verge/Unmade Ground/Field | Number | 0 | 1210.12 | 0 | 125mm
S41 | 4.4 | Existing Mains Connection cut out - Footway Rigid | Number | 0 | 2028.16 | 0 | 125mm
S41 | 4.4 | Existing Mains Connection cut out - Type 3/4 Road | Number | 0 | 2431.4 | 0 | 125mm
S41 | 4.4 | Existing Mains Connection cut out - Customer Excavation | Number | 0 | 880.11 | 0 | 180mm
S41 | 4.4 | Existing Mains Connection cut out - Verge/Unmade Ground/Field | Number | 0 | 1327.3 | 0 | 180mm
S41 | 4.4 | Existing Mains Connection cut out - Footway Rigid | Number | 0 | 2187.26 | 0 | 180mm
S41 | 4.4 | Existing Mains Connection cut out - Type 3/4 Road | Number | 0 | 2602.83 | 0 | 180mm
S41 | 4.4 | Existing Mains Connection cut out - Customer Excavation | Number | 0 | 1182.8 | 0 | 250mm
S41 | 4.4 | Existing Mains Connection cut out - Verge/Unmade Ground/Field | Number | 0 | 2229.26 | 0 | 250mm
S41 | 4.4 | Existing Mains Connection cut out - Footway Rigid | Number | 0 | 3356.32 | 0 | 250mm
S41 | 4.4 | Existing Mains Connection cut out - Type 3/4 Road | Number | 0 | 3897.81 | 0 | 250mm
S41 | 4.5 | Fittings - Customer Excavation | Fitting | 0 | 379.75 | 0 | 63mm/90mm
S41 | 4.5 | Fittings - Verge/Unmade Ground/Field | Fitting | 0 | 571.15 | 0 | 63mm/90mm
S41 | 4.5 | Fittings - Footway | Fitting | 0 | 786.65 | 0 | 63mm/90mm
S41 | 4.5 | Fittings - Type 3/4 Road | Fitting | 0 | 963.64 | 0 | 63mm/90mm
S41 | 4.5 | Fittings - Customer Excavation | Fitting | 0 | 396.94 | 0 | 125mm
S41 | 4.5 | Fittings - Verge/Unmade Ground/Field | Fitting | 0 | 588.17 | 0 | 125mm
S41 | 4.5 | Fittings - Footway | Fitting | 0 | 832.94 | 0 | 125mm
S41 | 4.5 | Fittings - Type 3/4 Road | Fitting | 0 | 982.86 | 0 | 125mm
S41 | 4.5 | Fittings - Customer Excavation | Fitting | 0 | 452.52 | 0 | 180mm
S41 | 4.5 | Fittings - Verge/Unmade Ground/Field | Fitting | 0 | 647.43 | 0 | 180mm
S41 | 4.5 | Fittings - Footway | Fitting | 0 | 898.43 | 0 | 180mm
S41 | 4.5 | Fittings - Type 3/4 Road | Fitting | 0 | 1049.24 | 0 | 180mm
S41 | 4.5 | Fittings - Customer Excavation | Fitting | 0 | 555.56 | 0 | 250mm
S41 | 4.5 | Fittings - Verge/Unmade Ground/Field | Fitting | 0 | 773.38 | 0 | 250mm
S41 | 4.5 | Fittings - Footway | Fitting | 0 | 1051.73 | 0 | 180mm
S41 | 4.5 | Fittings - Type 3/4 Road | Fitting | 0 | 1206.5 | 0 | 250mm
S41 | 4.6 | Pressure Test | Number | 0 | 423.27 | 0 | 63mm/90mm
S41 | 4.6 | Pressure Test | Number | 0 | 423.27 | 0 | 125mm
S41 | 4.6 | Pressure Test | Number | 0 | 510.65 | 0 | 180mm
S41 | 4.6 | Pressure Test | Number | 0 | 648.82 | 0 | 250mm
S41 | 4.7 | Chlorination | Number | 0 | 769.73 | 0 | 63mm/90mm
S41 | 4.7 | Chlorination | Number | 0 | 769.73 | 0 | 125mm
S41 | 4.7 | Chlorination | Number | 0 | 769.73 | 0 | 180mm
S41 | 4.7 | Chlorination | Number | 0 | 769.73 | 0 | 250mm
S41 | 4.7 | Sampling and Analysis | Number | 0 | 189.02 | 0 | where not carried out as part of chlorination per sample
S41 | 4.8 | Trial Hole<1m3 Verge/UnmadeGround/Field | Number | 0 | 429.76 | 0
S41 | 4.8 | Trial Hole<1m3 Footway | Number | 0 | 685.71 | 0
S41 | 4.8 | Trial Hole<1m3 Type 3/4 Road | Number | 0 | 845.98 | 0
S41 | 4.8 | Trial Hole>1m3 Verge/UnmadeGround/Field* | per m3 | 0 | 338.3 | 0 | * Price is per cubic metre
S41 | 4.8 | Trial Hole>1m3 Footway* | per m3 | 0 | 604.22 | 0 | * Price is per cubic metre
S41 | 4.8 | Trial Hole>1m3 Type 3/4 Road* | per m3 | 0 | 756.29 | 0 | * Price is per cubic metre
S41 | 4.9 | Excavating in Rock/Concrete | per m3 | 0 | 153.77 | 0
S41 | 4.9 | Granular Fill E/O | per m3 | 0 | 94.98 | 0
S41 | 4.9 | In Situ Grade C20 or C30 concrete | per m3 | 0 | 248.62 | 0
S41 | 4.9 | Foam Concrete Grade C4 | per m3 | 0 | 210.4 | 0
S41 | 4.9 | E/O Coloured Tarmac | m2 | 0 | 52.92 | 0
S41 | 4.9 | E/O Anti Skid Surfacing | m2 | 0 | 294.82 | 0
S41 | 4.9 | Continous road marking lines | per metre | 0 | 19.15 | 0
S41 | 4.9 | Intermittent road marking lines | per metre | 0 | 19.15 | 0
S41 | 4.9 | Road marking letters and shapes | Number | 0 | 181.42 | 0
S41 | 4.9 | Road Studs | Number | 0 | 44.36 | 0
S41 | 4.9 | Re-Lay kerb | per metre | 0 | 61.47 | 0
S41 | 4.9 | Re-Lay edging | per metre | 0 | 46.87 | 0
S41 | 4.9 | Marker post and plate | Number | 0 | 84.29 | 0
S41 | 4.9 | Reinstatement of land drains | Number | 0 | 293.68 | 0
S41 | 4.10 | Watercourse Crossing including reinstatement | Number | 0 | 3110.58 | 0 | 63/90 mm
S41 | 4.10 | Watercourse Crossing including reinstatement | Number | 0 | 3336.96 | 0 | 125mm
S41 | 4.10 | Watercourse Crossing including reinstatement | Number | 0 | 3451.56 | 0 | 180mm
S41 | 4.10 | Watercourse Crossing including reinstatement | Number | 0 | 3753.29 | 0 | 250mm
[5 empty] | Total | 0
Disconnection Charges (Non-contestable)
Payable when an existing supply is to be removed permanently ie when premises are demolished
WIA ref | Charging Arrangements Section | Charge Item | Charge Unit | Quantity | Charge | Total | Notes
S62 | 5.5 | A fee of £748.26 may be incurred for lead or galvanised iron service pipe replacements up to 1” diameter where the new connection and disconnection require separate excavations. In certain other situation, removal of apparatus may be charged for at cost. | Fixed fee | 0 | 748.26 | 0
[5 empty] | Total | 0
Infrastructure charges
WIA ref | Charging Arrangements Section | Charge Item | Charge Unit | Quantity | Charge | Total | Notes
Licence | 6.1 | Infrastructure credits to account for relevant use within the last 5 years | number of credits (see separate schedule) | 0 | 238 | 0 | To be assessed on a case-by-case basis
S146 | 6.1 | Standard Infrastructure charges due for the development (ie. single or zonal) | Charge per dwelling | 0 | 238 | 0
S146 | 6.1 | Infrastructure Charges for domestic use in premises other than houses or flats with their own discrete water supplies (using the relevant multiplier or other appropriate means) | Relevant multiplier | 0 | 238 | 0 | For non-household domestic use the charge is based on loading units and the relevant multiplier of the standard charge. For each application with more than 24 loading units, the loading units are totalled to calculate the relevant multiplier of standard charges
[5 empty] | Total | 0
Memo Items (not included in the quotation total)
Note: These charges are stated at the quotation stage for clairty
WIA ref | Charging Arrangements Section | Charge Item | Charge Unit | Quantity | Charge | Total | Notes
N/A | 5.4 | Abortive Charges | per unit | 0 | 182.2 | 0
N/A | 5.4 | Reinspection Fee | per site visit | 0 | 105 | 0
[5 empty] | Total | 0
Income Offset Payments
WIA ref | Charging Arrangements Section | Charge Item | Charge Unit | Quantity | Charge | Total | Notes
N/A | 6.1 | Income Offset Payments | Payment per dwelling | 0 | -394 | 0
[5 empty] | Total | 0

## Diversions
Diverting a Public Asset (S185 Diversion) - Major or Minor Diversion
Note: The New Connections Rules confirm that the water company is only entitled to recover costs reasonably incurred as a result of providing the Diversion
WIA ref | Charging Arrangements Section | Charge Item | Charge Unit | Quantity | Charge | Total | Notes
S185 | 3.7 | Mains Diversion design fee <300m | per application | 0 | 385 | 0 | Application fee for the diversion of mains not exceeding 300mm. Excludes VAT
S185 | 3.7 | Mains Diversion design fee >= 300m | per application | 0 | 2675 | 0 | For mains bigger than 300mm diameter and determined on a case-by-case basis. Excludes VAT
S185 | 4.1 | Excavate supply and lay 180mm pipe (per linear metre) (and reinstate where required) - in highway | budget estimate per m | 0 | 349.58 | 0
S185 |  | Decommissioning redundant mains following a diversion (eg capping off) | Bespoke arrangement. |  | Price on Application |  | indicative estimate would be c£2000
[5 empty] | Total | 0

## Traffic Man Costs and Permits
Traffic Management and Road Closure Costs
Charging Arrangements Section | Traffic Management – Item description | Unit | Costs | Quantity | Total
4.9 | Traffic lights - 2 Way system including power supply, cables etc. | Day | 35.89 | 0 | 0
4.9 | Traffic lights - 3 Way system including power supply, cables etc. | Day | 51.27 | 0 | 0
4.9 | Traffic lights - 4 Way system including power supply, cables etc. | Day | 86.98 | 0 | 0
4.9 | Traffic plan | nr | 185.71 | 0 | 0
4.9 | 2 Man Stop and Go Team | Day | 825.66 | 0 | 0
4.9 | Lane closure - Up to 40mph 1 Day | Day | 580.53 | 0 | 0
4.9 | Lane closure - E/O Up to 40mph 1 Day - Additional Day | Day | 100.73 | 0 | 0
4.9 | Lane closure - Up to 50mph (using IPV) 1 Day | Day | Price On Application
4.9 | Lane closure - E/O up to 50mph 1 Day - Additional Day | Day | Price On Application
4.9 | Road Closure Diversions - Advance warning notices- site specific, including installation and checking (per site) - Up to 20 signs, up to 1 week including maintenance check | Week | 622.44 | 0 | 0
4.9 | Road Closure Diversions - Advance warning notices- site specific, including installation and checking (per site) - Up to 20 signs, additional week including maintenance check | Week | 258.67 | 0 | 0
4.9 | Road Closure Diversions - Advance warning notices- site specific, including installation and checking (per site) - Up to 40 signs, up to 1 week including maintenance check | Week | 1049.08 | 0 | 0
4.9 | Road Closure Diversions - Advance warning notices- site specific, including installation and checking (per site) - Up to 40 signs, additional week including maintenance check | Week | 484.6 | 0 | 0
4.9 | Road Closure Diversions - Advance warning notices- site specific, including installation and checking (per site) - Up to 60 signs, up to 1 week including maintenance check | Week | 1387.9 | 0 | 0
4.9 | Road Closure Diversions - Advance warning notices- site specific, including installation and checking (per site) - Up to 60 signs, additional week including maintenance check | Week | 710.53 | 0 | 0
| Total |  |  |  | 0
Road Closure Fees payable to Local Authorities (not included within quote calculation)
Bath & North East Somerset Council
Temporary Orders (up to 18 months) = minimum £1,486 including advertising
Bristol City Council
Temporary Traffic Regulation Order = £2,286
(Plus £898 per additional street)
Includes extra cost if legal/advertising cost amount to more. E.g. Large Road Closure.
Somerset County Council
Temporary Full Order (up to 18 months) = £1,375
Emergency order < 5 days = £495
Cost includes administration and production of signing schedule and diversion route.
For placing adverts in local paper.
North Somerset Council
Temporary Order (12 weeks notice) = £1,370
Urgent Notice (5 day or 21 day maximum) = £2,470
Cancellation fee = £250 + advertising costs
South Gloucestershire Council
Temporary Order (Up to 28 Days) = £2,300.70
Temporary Order (Over 28 Days) = £3,834
5 day notice = £304.40
Wiltshire Council
Temporary Traffic Order = £1,850
Gloucestershire County Council
Temporary Traffic Order = £1,320
Include these costs below if :
§ £300 for deferral of start date
§ £300 for any extension to closure
§ £175 per any additional road on same application
In addition to road closure fees, all the Councils listed above implement Permit schemes under the Traffic Management Act by 1 April 2020. Developers will also pay the costs of us obtaining the Highways Permits, and any additional costs that arise where this is driven by developer requirements.

## Land Entry
Land Entry Typical Costs
Charging Arrangements Section | Land Entry – Item description | Unit | Cost | Quantity | Total
4.9 | Topsoil Strip including store and reseed | m2 | 5.09 | 0 | 0
4.9 | Temporary Stockproof Fencing | Metre | 11.94 | 0 | 0
4.9 | 3 Strand Post and Wire Fencing | Metre | 9.16 | 0 | 0
4.9 | Post and Rail Fencing | Metre | 20.8 | 0 | 0
4.9 | Pin and Tape Demarcation | Metre | 5.88 | 0 | 0
4.9 | Crossing Point including Gate | Number | 583.27 | 0 | 0
4.12 | Compensation Allowance (Estimate) | Metre | 10 | 0 | 0
| Total |  |  |  | 0

## Exceptional Items
Exceptional Items
Charging Arrangements Section | Item description | Cost £
4.13 | Archaelogical Area | TBA
4.13 | Ecological Area | TBA
4.14 | Rail Crossings | TBA
4.14 | Bridge Crossings | TBA
4.14 | Motorway Crossings | TBA
4.14 | River Crossings | TBA
4.14 | Large Diameter Mains Connections | TBA
4.14 | Non Open Cut Mains Installation | TBA
4.14 | Booster Station | TBA
| Total | 0
Costs will be dependant on individual schemes