## Slide 1: Clinical Engineering Support toward Optimum Quality and Safety in Hospitals
Dr. Hashem Alfadel
Chairman of Assessors Advisory Board,
Temos International GmbH

## Slide 2
Step 1:
Plan
Step 2:
Set Standards
Step 3:
Communicate Standards
Step 4:
Monitor
Step 5:
Identify & Prioritize Opportunities for Improvement
Step 6:
Define Improvement Op
Step 7:
Identify Who Will Work on Improvement
Step 8:
Analyze & Study Improv op
Step 9:
Choose & Design Solution
Step 10:
Implement Solution
QUALITY ASSURANCE
QUALITY IMPROVEMENT
QUALITY CONTROL
QUALITY
MANAGEMENT SYSTEM/ CQI
Notes: Based on Department of health and Human resources, Nevada State Heath Division 2010, 4% of sentinel events come from Medical devices, the highest is HAI with 40%

## Slide 3: Continuous Quality Improvement
Identify customers/services
Identify and measure improvement needs (KPIs)
  Identify critical processes
  Identify quality indicators
Examine problems and analyze the causes
Auditing processes
Decide on solutions and action plans to achieve them
Implement proposed solutions, measure and evaluate
Adopt and standardize improved processes
Users questionnaires and complaints analysis, quality audits, service experience measures
Mitigating risks through Risk management process and safety practices.
Notes: Risk management:
Identifying potential hazards
Risk registry
Incident reports
Safety education
Representations in hospital committees
Safety policy development review and updates

## Slide 4: Temos CE Standards
1. Inventory of all medical equipment is
available with automated information system
2. Equipment is checked and inspected and
users are trained before operation
3. Medical Equipment is regularly inspected, tagged
with valid dates.
4. Work services are documented, monitored
and audited 100% for critical technologies..
5. There is a preventive maintenance program.
6. Adequate number of staff members, qualified
and trained

## Slide 5: Temos CE standards
7. Data is collected and monitored through KPIs
8. Documentations is collected for the purpose of
planning and improvement.
9. There is a product recall system in place and policy
dealing with any recall.
10. Policies and procedures are available and cover
all services of a CE department.
11. Availability of needed medical devices in critical
areas
12. Critical equipment: Defibrillators, ventilators, anesthesia
equipment etc. have implemented users inspection and
cleaning procedures.

## Slide 6: Temos CE standards
13. Service contract management and follow up including
remote services for major digital systems are in place.
14. Safety inspection and QC protocols are available and
implemented in Radiology and nuclear services.
15. Test equipment management certification protocols are
available and implemented
16. Disposal evaluation and equipment retirement protocols
are available and implemented.
17. Sterilization of medical devices protocols and on
processing of single use devices are available.
18. Protocol is available for Technical terms and conditions
19. Clinical Audits are conducted for CQI
Notes: Clinical Engineering audits:
Tracing methodologies
KPIs
Quality audits
Customer surveys to experience measurements
External audits
Dash boards
Others

## Slide 7
Hygiene and cleaning 35
Maintenance of equipment 33
Infection prevention and control 28
Staff training (different areas) 22
Security and evacuation system 21
Medication handling incl. narcotics, HAM, LASAD 17
Fire and smoke detection 16
Emergency exit signs 15
Defibrillators 14
*Data from 40 hospital’s onsite surveys/reports from Europe,
Middle East and Far East from 2012-2018
Findings from actual surveys

## Slide 8: CE Challenges found
Utilization of equipment
HTA non existent in many countries
Resources /support/appropriation
Healthcare Technology Management process
Awareness of clinicians
Others ….

## Slide 9: Conclusion
Clinical Engineering standards for optimum services are essential toward improving healthcare services for optimum quality and safety practices.
We found that successful in-house and 3rd party Clinical Engineering services are keeping up with trends and CQI. They are also partnering with all stakeholders for high quality service delivery and mitigation of risk strategies – all of which helps achieve the highest score in accreditation assessments.

## Slide 10: Dr. Hashem Al Fadel hashem.alfadel@gmail.com
Temos International Healthcare Accreditation/ Germany
Chairman of Temos Assessors Advisory Board
Regional Director for Jordan and Saudi Arabia
Based in Jordan