## Slide 1: Sanitization and sterilization of critical health medical devices
Giordana Di Bello
San Matteo University Hospital – Pavia, Italy

## Slide 2: The Team / Workgroup
G. Di Bello, M. Gadaleta, P. Greco, P. Lago - Clinical Engineering Dept
A. Giampà - Central Sterilization Unit
F. Mojoli, M. Belliato - Intensive Care Unit
San Matteo Covid Task Force

## Slide 3: Description
Wrong sanitization and sterilization procedures are the main cause of patient-to-patient infections transmission and serious devices damages.
Covid-19 recently exposed the importance of multi-patient medical devices sanitization and sterilization, as well as the role of clinical engineers in medical devices maintenance.
This research investigates the main methodologies to eliminate all the pathogenic microorganisms on the following medical devices:
  Monitors
  Ultrasound systems
  Fiber/video endoscopes
  Clinical beds
  Pulmonary ventilators
  Portable RX diagnostic devices

## Slide 4: Goals of the project and final users that will benefit
Goals achieved during this project
Find and analyze errors and the reasons why they occur
Properly fix and update current procedures for Covid pandemic
Investigate on new technologic solutions for sanitization in healthcare
Long term goals
Raise awareness on the importance of sterilization and sanitization of medical devices, encouraging the involvement of clinical engineers
Provide instructions on how to carry out different methodologies avoiding damaging the medical devices
This project is aimed to help all the professional figures interested in the sanitization and sterilization processes.

## Slide 5: Results (1)
A big lack of information in IFUs for medical devices has been observed. By filling the information gaps with the manufacturers, we have been able to unify the procedures for the same kind of devices from different brands, excluding aggressive products with prolonged use and upgrading the disinfection efficacy to eliminate Sars-CoV2 virus.
The new instructions have been promptly issued to all the hospital units and healthcare workers. The clinical engineering unit started to focus also on sterilization and sanitization procedures, while managing devices with the ordinary acivities and planning acquisition of the new ones.

## Slide 6: Results (2)
New no-touch automated solutions like UV light, Hydrogen Peroxyde Vapor and Ozone Machines have been investigated. After establishing the proper use of each method, we drived our attention prominently on the high effectiveness of Ozone Machines and on how to address its toxicity issues.
Since some ozone generators were already used to sanitize ambulances at the San Matteo Hospital, collaborating with their operators was fundamental to review and establish a structured and correct procedure for them to follow, even if strictly related to the characteristics of those specific machines.
More studies on how to introduce more advanced ozone generators for decontamination in common hospital rooms and areas are still ongoing.

## Slide 7: Giordana Di Bello
giordanadibello@gmail.com
San Matteo University Hospital – Pavia, Italy